## Sheet1
Parameter 0 Calibration |  |  |  | Address Offset | Size (registers) | Default Values | Data Type
Sample 0 | 2 | Float32 | FC3 | 2000 | 2 |  | Float
Sample 1 | 2 | Float33 | FC3 | 2002 | 2 |  | Float
Lab 0 | 2 | Float34 | FC3 | 2004 | 2 |  | Float
Lab 1 | 2 | Float35 | FC3 | 2006 | 2 |  | Float
current_coeff[0] | 2 | Float36 | FC3 | 2008 | 2 |  | Float
current_coeff[1] | 2 | Float37 | FC3 | 2010 | 2 |  | Float
user_coeff[0] | 2 | Float38 | FC3 | 2012 | 2 |  | Float
user_coeff[1] | 2 | Float39 | FC3 | 2014 | 2 |  | Float
factory_coeff[0] | 2 | Float40 | FC3 | 2016 | 2 |  | Float
factory_coeff[1] | 2 | Float41 | FC3 | 2018 | 2 |  | Float
supported_types | 1 | Unsigned Int16 | FC3 | 2020 | 1 | [1 = offset, 2 = slope] | Uint
selected_mode | 1 | Unsigned Int16 | FC3 | 2021 | 1 | [1 = user, 2 = factory] | Uint
Reserved
Parameter 1 Calibration
Sample 0 | 2 | Float32 | FC3 | 2032 | 2 |  | Float
Sample 1 | 2 | Float33 | FC3 | 2034 | 2 |  | Float
Lab 0 | 2 | Float34 | FC3 | 2036 | 2 |  | Float
Lab 1 | 2 | Float35 | FC3 | 2038 | 2 |  | Float
current_coeff[0] | 2 | Float36 | FC3 | 2040 | 2 |  | Float
current_coeff[1] | 2 | Float37 | FC3 | 2042 | 2 |  | Float
user_coeff[0] | 2 | Float38 | FC3 | 2044 | 2 |  | Float
user_coeff[1] | 2 | Float39 | FC3 | 2046 | 2 |  | Float
factory_coeff[0] | 2 | Float40 | FC3 | 2048 | 2 |  | Float
factory_coeff[1] | 2 | Float41 | FC3 | 2050 | 2 |  | Float
supported_types | 1 | Unsigned Int16 | FC3 | 2052 | 1 | [1 = offset, 2 = slope] | Uint
selected_mode | 1 | Unsigned Int16 | FC3 | 2053 | 1 | [1 = user, 2 = factory] | Uint
Reserved
Parameter 2 Calibration
Sample 0 | 2 | Float32 | FC3 | 2064 | 2 |  | Float
Sample 1 | 2 | Float33 | FC3 | 2066 | 2 |  | Float
Lab 0 | 2 | Float34 | FC3 | 2068 | 2 |  | Float
Lab 1 | 2 | Float35 | FC3 | 2070 | 2 |  | Float
current_coeff[0] | 2 | Float36 | FC3 | 2072 | 2 |  | Float
current_coeff[1] | 2 | Float37 | FC3 | 2074 | 2 |  | Float
user_coeff[0] | 2 | Float38 | FC3 | 2076 | 2 |  | Float
user_coeff[1] | 2 | Float39 | FC3 | 2078 | 2 |  | Float
factory_coeff[0] | 2 | Float40 | FC3 | 2080 | 2 |  | Float
factory_coeff[1] | 2 | Float41 | FC3 | 2082 | 2 |  | Float
supported_types | 1 | Unsigned Int16 | FC3 | 2084 | 1 | [1 = offset, 2 = slope] | Uint
selected_mode | 1 | Unsigned Int16 | FC3 | 2085 | 1 | [1 = user, 2 = factory] | Uint
Reserved
Parameter 3 Calibration
Sample 0 | 2 | Float32 | FC3 | 2096 | 2 |  | Float
Sample 1 | 2 | Float33 | FC3 | 2098 | 2 |  | Float
Lab 0 | 2 | Float34 | FC3 | 2100 | 2 |  | Float
Lab 1 | 2 | Float35 | FC3 | 2102 | 2 |  | Float
current_coeff[0] | 2 | Float36 | FC3 | 2104 | 2 |  | Float
current_coeff[1] | 2 | Float37 | FC3 | 2106 | 2 |  | Float
user_coeff[0] | 2 | Float38 | FC3 | 2108 | 2 |  | Float
user_coeff[1] | 2 | Float39 | FC3 | 2110 | 2 |  | Float
factory_coeff[0] | 2 | Float40 | FC3 | 2112 | 2 |  | Float
factory_coeff[1] | 2 | Float41 | FC3 | 2114 | 2 |  | Float
supported_types | 1 | Unsigned Int16 | FC3 | 2116 | 1 | [1 = offset, 2 = slope] | Uint
selected_mode | 1 | Unsigned Int16 | FC3 | 2117 | 1 | [1 = user, 2 = factory] | Uint
Reserved
Parameter 4 Calibration
Sample 0 | 2 | Float32 | FC3 | 2128 | 2 |  | Float
Sample 1 | 2 | Float33 | FC3 | 2130 | 2 |  | Float
Lab 0 | 2 | Float34 | FC3 | 2132 | 2 |  | Float
Lab 1 | 2 | Float35 | FC3 | 2134 | 2 |  | Float
current_coeff[0] | 2 | Float36 | FC3 | 2136 | 2 |  | Float
current_coeff[1] | 2 | Float37 | FC3 | 2138 | 2 |  | Float
user_coeff[0] | 2 | Float38 | FC3 | 2140 | 2 |  | Float
user_coeff[1] | 2 | Float39 | FC3 | 2142 | 2 |  | Float
factory_coeff[0] | 2 | Float40 | FC3 | 2144 | 2 |  | Float
factory_coeff[1] | 2 | Float41 | FC3 | 2146 | 2 |  | Float
supported_types | 1 | Unsigned Int16 | FC3 | 2148 | 1 | [1 = offset, 2 = slope] | Uint
selected_mode | 1 | Unsigned Int16 | FC3 | 2149 | 1 | [1 = user, 2 = factory] | Uint
Reserved
Parameter 5 Calibration
Sample 0 | 2 | Float32 | FC3 | 2160 | 2 |  | Float
Sample 1 | 2 | Float33 | FC3 | 2162 | 2 |  | Float
Lab 0 | 2 | Float34 | FC3 | 2164 | 2 |  | Float
Lab 1 | 2 | Float35 | FC3 | 2166 | 2 |  | Float
current_coeff[0] | 2 | Float36 | FC3 | 2168 | 2 |  | Float
current_coeff[1] | 2 | Float37 | FC3 | 2170 | 2 |  | Float
user_coeff[0] | 2 | Float38 | FC3 | 2172 | 2 |  | Float
user_coeff[1] | 2 | Float39 | FC3 | 2174 | 2 |  | Float
factory_coeff[0] | 2 | Float40 | FC3 | 2176 | 2 |  | Float
factory_coeff[1] | 2 | Float41 | FC3 | 2178 | 2 |  | Float
supported_types | 1 | Unsigned Int16 | FC3 | 2180 | 1 | [1 = offset, 2 = slope] | Uint
selected_mode | 1 | Unsigned Int16 | FC3 | 2181 | 1 | [1 = user, 2 = factory] | Uint
Reserved
Parameter 6 Calibration
Sample 0 | 2 | Float32 | FC3 | 2192 | 2 |  | Float
Sample 1 | 2 | Float33 | FC3 | 2194 | 2 |  | Float
Lab 0 | 2 | Float34 | FC3 | 2196 | 2 |  | Float
Lab 1 | 2 | Float35 | FC3 | 2198 | 2 |  | Float
current_coeff[0] | 2 | Float36 | FC3 | 2200 | 2 |  | Float
current_coeff[1] | 2 | Float37 | FC3 | 2202 | 2 |  | Float
user_coeff[0] | 2 | Float38 | FC3 | 2204 | 2 |  | Float
user_coeff[1] | 2 | Float39 | FC3 | 2206 | 2 |  | Float
factory_coeff[0] | 2 | Float40 | FC3 | 2208 | 2 |  | Float
factory_coeff[1] | 2 | Float41 | FC3 | 2210 | 2 |  | Float
supported_types | 1 | Unsigned Int16 | FC3 | 2212 | 1 | [1 = offset, 2 = slope] | Uint
selected_mode | 1 | Unsigned Int16 | FC3 | 2213 | 1 | [1 = user, 2 = factory] | Uint
Reserved
Parameter 7 Calibration
Sample 0 | 2 | Float32 | FC3 | 2224 | 2 |  | Float
Sample 1 | 2 | Float33 | FC3 | 2226 | 2 |  | Float
Lab 0 | 2 | Float34 | FC3 | 2228 | 2 |  | Float
Lab 1 | 2 | Float35 | FC3 | 2230 | 2 |  | Float
current_coeff[0] | 2 | Float36 | FC3 | 2232 | 2 |  | Float
current_coeff[1] | 2 | Float37 | FC3 | 2234 | 2 |  | Float
user_coeff[0] | 2 | Float38 | FC3 | 2236 | 2 |  | Float
user_coeff[1] | 2 | Float39 | FC3 | 2238 | 2 |  | Float
factory_coeff[0] | 2 | Float40 | FC3 | 2240 | 2 |  | Float
factory_coeff[1] | 2 | Float41 | FC3 | 2242 | 2 |  | Float
supported_types | 1 | Unsigned Int16 | FC3 | 2244 | 1 | [1 = offset, 2 = slope] | Uint
selected_mode | 1 | Unsigned Int16 | FC3 | 2245 | 1 | [1 = user, 2 = factory] | Uint
Reserved
Parameter 8 Calibration
Sample 0 | 2 | Float32 | FC3 | 2256 | 2 |  | Float
Sample 1 | 2 | Float33 | FC3 | 2258 | 2 |  | Float
Lab 0 | 2 | Float34 | FC3 | 2260 | 2 |  | Float
Lab 1 | 2 | Float35 | FC3 | 2262 | 2 |  | Float
current_coeff[0] | 2 | Float36 | FC3 | 2264 | 2 |  | Float
current_coeff[1] | 2 | Float37 | FC3 | 2266 | 2 |  | Float
user_coeff[0] | 2 | Float38 | FC3 | 2268 | 2 |  | Float
user_coeff[1] | 2 | Float39 | FC3 | 2270 | 2 |  | Float
factory_coeff[0] | 2 | Float40 | FC3 | 2272 | 2 |  | Float
factory_coeff[1] | 2 | Float41 | FC3 | 2274 | 2 |  | Float
supported_types | 1 | Unsigned Int16 | FC3 | 2276 | 1 | [1 = offset, 2 = slope] | Uint
selected_mode | 1 | Unsigned Int16 | FC3 | 2277 | 1 | [1 = user, 2 = factory] | Uint
Reserved
Parameter 9 Calibration
Sample 0 | 2 | Float32 | FC3 | 2288 | 2 |  | Float
Sample 1 | 2 | Float33 | FC3 | 2290 | 2 |  | Float
Lab 0 | 2 | Float34 | FC3 | 2292 | 2 |  | Float
Lab 1 | 2 | Float35 | FC3 | 2294 | 2 |  | Float
current_coeff[0] | 2 | Float36 | FC3 | 2296 | 2 |  | Float
current_coeff[1] | 2 | Float37 | FC3 | 2298 | 2 |  | Float
user_coeff[0] | 2 | Float38 | FC3 | 2300 | 2 |  | Float
user_coeff[1] | 2 | Float39 | FC3 | 2302 | 2 |  | Float
factory_coeff[0] | 2 | Float40 | FC3 | 2304 | 2 |  | Float
factory_coeff[1] | 2 | Float41 | FC3 | 2306 | 2 |  | Float
supported_types | 1 | Unsigned Int16 | FC3 | 2308 | 1 | [1 = offset, 2 = slope] | Uint
selected_mode | 1 | Unsigned Int16 | FC3 | 2309 | 1 | [1 = user, 2 = factory] | Uint
Reserved
Parameter 10 Calibration
Sample 0 | 2 | Float32 | FC3 | 2320 | 2 |  | Float
Sample 1 | 2 | Float33 | FC3 | 2322 | 2 |  | Float
Lab 0 | 2 | Float34 | FC3 | 2324 | 2 |  | Float
Lab 1 | 2 | Float35 | FC3 | 2326 | 2 |  | Float
current_coeff[0] | 2 | Float36 | FC3 | 2328 | 2 |  | Float
current_coeff[1] | 2 | Float37 | FC3 | 2330 | 2 |  | Float
user_coeff[0] | 2 | Float38 | FC3 | 2332 | 2 |  | Float
user_coeff[1] | 2 | Float39 | FC3 | 2334 | 2 |  | Float
factory_coeff[0] | 2 | Float40 | FC3 | 2336 | 2 |  | Float
factory_coeff[1] | 2 | Float41 | FC3 | 2338 | 2 |  | Float
supported_types | 1 | Unsigned Int16 | FC3 | 2340 | 1 | [1 = offset, 2 = slope] | Uint
selected_mode | 1 | Unsigned Int16 | FC3 | 2341 | 1 | [1 = user, 2 = factory] | Uint
Reserved
Parameter 11 Calibration
Sample 0 | 2 | Float32 | FC3 | 2352 | 2 |  | Float
Sample 1 | 2 | Float33 | FC3 | 2354 | 2 |  | Float
Lab 0 | 2 | Float34 | FC3 | 2356 | 2 |  | Float
Lab 1 | 2 | Float35 | FC3 | 2358 | 2 |  | Float
current_coeff[0] | 2 | Float36 | FC3 | 2360 | 2 |  | Float
current_coeff[1] | 2 | Float37 | FC3 | 2362 | 2 |  | Float
user_coeff[0] | 2 | Float38 | FC3 | 2364 | 2 |  | Float
user_coeff[1] | 2 | Float39 | FC3 | 2366 | 2 |  | Float
factory_coeff[0] | 2 | Float40 | FC3 | 2368 | 2 |  | Float
factory_coeff[1] | 2 | Float41 | FC3 | 2370 | 2 |  | Float
supported_types | 1 | Unsigned Int16 | FC3 | 2372 | 1 | [1 = offset, 2 = slope] | Uint
selected_mode | 1 | Unsigned Int16 | FC3 | 2373 | 1 | [1 = user, 2 = factory] | Uint
Reserved
Parameter 12 Calibration
Sample 0 | 2 | Float32 | FC3 | 2384 | 2 |  | Float
Sample 1 | 2 | Float33 | FC3 | 2386 | 2 |  | Float
Lab 0 | 2 | Float34 | FC3 | 2388 | 2 |  | Float
Lab 1 | 2 | Float35 | FC3 | 2390 | 2 |  | Float
current_coeff[0] | 2 | Float36 | FC3 | 2392 | 2 |  | Float
current_coeff[1] | 2 | Float37 | FC3 | 2394 | 2 |  | Float
user_coeff[0] | 2 | Float38 | FC3 | 2396 | 2 |  | Float
user_coeff[1] | 2 | Float39 | FC3 | 2398 | 2 |  | Float
factory_coeff[0] | 2 | Float40 | FC3 | 2400 | 2 |  | Float
factory_coeff[1] | 2 | Float41 | FC3 | 2402 | 2 |  | Float
supported_types | 1 | Unsigned Int16 | FC3 | 2404 | 1 | [1 = offset, 2 = slope] | Uint
selected_mode | 1 | Unsigned Int16 | FC3 | 2405 | 1 | [1 = user, 2 = factory] | Uint
Reserved
Parameter 13 Calibration
Sample 0 | 2 | Float32 | FC3 | 2416 | 2 |  | Float
Sample 1 | 2 | Float33 | FC3 | 2418 | 2 |  | Float
Lab 0 | 2 | Float34 | FC3 | 2420 | 2 |  | Float
Lab 1 | 2 | Float35 | FC3 | 2422 | 2 |  | Float
current_coeff[0] | 2 | Float36 | FC3 | 2424 | 2 |  | Float
current_coeff[1] | 2 | Float37 | FC3 | 2426 | 2 |  | Float
user_coeff[0] | 2 | Float38 | FC3 | 2428 | 2 |  | Float
user_coeff[1] | 2 | Float39 | FC3 | 2430 | 2 |  | Float
factory_coeff[0] | 2 | Float40 | FC3 | 2432 | 2 |  | Float
factory_coeff[1] | 2 | Float41 | FC3 | 2434 | 2 |  | Float
supported_types | 1 | Unsigned Int16 | FC3 | 2436 | 1 | [1 = offset, 2 = slope] | Uint
selected_mode | 1 | Unsigned Int16 | FC3 | 2437 | 1 | [1 = user, 2 = factory] | Uint
Reserved
Parameter 14 Calibration
Sample 0 | 2 | Float32 | FC3 | 2448 | 2 |  | Float
Sample 1 | 2 | Float33 | FC3 | 2450 | 2 |  | Float
Lab 0 | 2 | Float34 | FC3 | 2452 | 2 |  | Float
Lab 1 | 2 | Float35 | FC3 | 2454 | 2 |  | Float
current_coeff[0] | 2 | Float36 | FC3 | 2456 | 2 |  | Float
current_coeff[1] | 2 | Float37 | FC3 | 2458 | 2 |  | Float
user_coeff[0] | 2 | Float38 | FC3 | 2460 | 2 |  | Float
user_coeff[1] | 2 | Float39 | FC3 | 2462 | 2 |  | Float
factory_coeff[0] | 2 | Float40 | FC3 | 2464 | 2 |  | Float
factory_coeff[1] | 2 | Float41 | FC3 | 2466 | 2 |  | Float
supported_types | 1 | Unsigned Int16 | FC3 | 2468 | 1 | [1 = offset, 2 = slope] | Uint
selected_mode | 1 | Unsigned Int16 | FC3 | 2469 | 1 | [1 = user, 2 = factory] | Uint
Reserved
Parameter 15 Calibration
Sample 0 | 2 | Float32 | FC3 | 2480 | 2 |  | Float
Sample 1 | 2 | Float33 | FC3 | 2482 | 2 |  | Float
Lab 0 | 2 | Float34 | FC3 | 2484 | 2 |  | Float
Lab 1 | 2 | Float35 | FC3 | 2486 | 2 |  | Float
current_coeff[0] | 2 | Float36 | FC3 | 2488 | 2 |  | Float
current_coeff[1] | 2 | Float37 | FC3 | 2490 | 2 |  | Float
user_coeff[0] | 2 | Float38 | FC3 | 2492 | 2 |  | Float
user_coeff[1] | 2 | Float39 | FC3 | 2494 | 2 |  | Float
factory_coeff[0] | 2 | Float40 | FC3 | 2496 | 2 |  | Float
factory_coeff[1] | 2 | Float41 | FC3 | 2498 | 2 |  | Float
supported_types | 1 | Unsigned Int16 | FC3 | 2500 | 1 | [1 = offset, 2 = slope] | Uint
selected_mode | 1 | Unsigned Int16 | FC3 | 2501 | 1 | [1 = user, 2 = factory] | Uint
Reserved
Parameter 16 Calibration
Sample 0 | 2 | Float32 | FC3 | 2512 | 2 |  | Float
Sample 1 | 2 | Float33 | FC3 | 2514 | 2 |  | Float
Lab 0 | 2 | Float34 | FC3 | 2516 | 2 |  | Float
Lab 1 | 2 | Float35 | FC3 | 2518 | 2 |  | Float
current_coeff[0] | 2 | Float36 | FC3 | 2520 | 2 |  | Float
current_coeff[1] | 2 | Float37 | FC3 | 2522 | 2 |  | Float
user_coeff[0] | 2 | Float38 | FC3 | 2524 | 2 |  | Float
user_coeff[1] | 2 | Float39 | FC3 | 2526 | 2 |  | Float
factory_coeff[0] | 2 | Float40 | FC3 | 2528 | 2 |  | Float
factory_coeff[1] | 2 | Float41 | FC3 | 2530 | 2 |  | Float
supported_types | 1 | Unsigned Int16 | FC3 | 2532 | 1 | [1 = offset, 2 = slope] | Uint
selected_mode | 1 | Unsigned Int16 | FC3 | 2533 | 1 | [1 = user, 2 = factory] | Uint
Reserved
Parameter 17 Calibration
Sample 0 | 2 | Float32 | FC3 | 2544 | 2 |  | Float
Sample 1 | 2 | Float33 | FC3 | 2546 | 2 |  | Float
Lab 0 | 2 | Float34 | FC3 | 2548 | 2 |  | Float
Lab 1 | 2 | Float35 | FC3 | 2550 | 2 |  | Float
current_coeff[0] | 2 | Float36 | FC3 | 2552 | 2 |  | Float
current_coeff[1] | 2 | Float37 | FC3 | 2554 | 2 |  | Float
user_coeff[0] | 2 | Float38 | FC3 | 2556 | 2 |  | Float
user_coeff[1] | 2 | Float39 | FC3 | 2558 | 2 |  | Float
factory_coeff[0] | 2 | Float40 | FC3 | 2560 | 2 |  | Float
factory_coeff[1] | 2 | Float41 | FC3 | 2562 | 2 |  | Float
supported_types | 1 | Unsigned Int16 | FC3 | 2564 | 1 | [1 = offset, 2 = slope] | Uint
selected_mode | 1 | Unsigned Int16 | FC3 | 2565 | 1 | [1 = user, 2 = factory] | Uint
Reserved
Parameter 18 Calibration
Sample 0 | 2 | Float32 | FC3 | 2576 | 2 |  | Float
Sample 1 | 2 | Float33 | FC3 | 2578 | 2 |  | Float
Lab 0 | 2 | Float34 | FC3 | 2580 | 2 |  | Float
Lab 1 | 2 | Float35 | FC3 | 2582 | 2 |  | Float
current_coeff[0] | 2 | Float36 | FC3 | 2584 | 2 |  | Float
current_coeff[1] | 2 | Float37 | FC3 | 2586 | 2 |  | Float
user_coeff[0] | 2 | Float38 | FC3 | 2588 | 2 |  | Float
user_coeff[1] | 2 | Float39 | FC3 | 2590 | 2 |  | Float
factory_coeff[0] | 2 | Float40 | FC3 | 2592 | 2 |  | Float
factory_coeff[1] | 2 | Float41 | FC3 | 2594 | 2 |  | Float
supported_types | 1 | Unsigned Int16 | FC3 | 2596 | 1 | [1 = offset, 2 = slope] | Uint
selected_mode | 1 | Unsigned Int16 | FC3 | 2597 | 1 | [1 = user, 2 = factory] | Uint
Reserved
Parameter 19 Calibration
Sample 0 | 2 | Float32 | FC3 | 2608 | 2 |  | Float
Sample 1 | 2 | Float33 | FC3 | 2610 | 2 |  | Float
Lab 0 | 2 | Float34 | FC3 | 2612 | 2 |  | Float
Lab 1 | 2 | Float35 | FC3 | 2614 | 2 |  | Float
current_coeff[0] | 2 | Float36 | FC3 | 2616 | 2 |  | Float
current_coeff[1] | 2 | Float37 | FC3 | 2618 | 2 |  | Float
user_coeff[0] | 2 | Float38 | FC3 | 2620 | 2 |  | Float
user_coeff[1] | 2 | Float39 | FC3 | 2622 | 2 |  | Float
factory_coeff[0] | 2 | Float40 | FC3 | 2624 | 2 |  | Float
factory_coeff[1] | 2 | Float41 | FC3 | 2626 | 2 |  | Float
supported_types | 1 | Unsigned Int16 | FC3 | 2628 | 1 | [1 = offset, 2 = slope] | Uint
selected_mode | 1 | Unsigned Int16 | FC3 | 2629 | 1 | [1 = user, 2 = factory] | Uint
Reserved
Parameter 20 Calibration
Sample 0 | 2 | Float32 | FC3 | 2640 | 2 |  | Float
Sample 1 | 2 | Float33 | FC3 | 2642 | 2 |  | Float
Lab 0 | 2 | Float34 | FC3 | 2644 | 2 |  | Float
Lab 1 | 2 | Float35 | FC3 | 2646 | 2 |  | Float
current_coeff[0] | 2 | Float36 | FC3 | 2648 | 2 |  | Float
current_coeff[1] | 2 | Float37 | FC3 | 2650 | 2 |  | Float
user_coeff[0] | 2 | Float38 | FC3 | 2652 | 2 |  | Float
user_coeff[1] | 2 | Float39 | FC3 | 2654 | 2 |  | Float
factory_coeff[0] | 2 | Float40 | FC3 | 2656 | 2 |  | Float
factory_coeff[1] | 2 | Float41 | FC3 | 2658 | 2 |  | Float
supported_types | 1 | Unsigned Int16 | FC3 | 2660 | 1 | [1 = offset, 2 = slope] | Uint
selected_mode | 1 | Unsigned Int16 | FC3 | 2661 | 1 | [1 = user, 2 = factory] | Uint
Reserved
Parameter 21 Calibration
Sample 0 | 2 | Float32 | FC3 | 2672 | 2 |  | Float
Sample 1 | 2 | Float33 | FC3 | 2674 | 2 |  | Float
Lab 0 | 2 | Float34 | FC3 | 2676 | 2 |  | Float
Lab 1 | 2 | Float35 | FC3 | 2678 | 2 |  | Float
current_coeff[0] | 2 | Float36 | FC3 | 2680 | 2 |  | Float
current_coeff[1] | 2 | Float37 | FC3 | 2682 | 2 |  | Float
user_coeff[0] | 2 | Float38 | FC3 | 2684 | 2 |  | Float
user_coeff[1] | 2 | Float39 | FC3 | 2686 | 2 |  | Float
factory_coeff[0] | 2 | Float40 | FC3 | 2688 | 2 |  | Float
factory_coeff[1] | 2 | Float41 | FC3 | 2690 | 2 |  | Float
supported_types | 1 | Unsigned Int16 | FC3 | 2692 | 1 | [1 = offset, 2 = slope] | Uint
selected_mode | 1 | Unsigned Int16 | FC3 | 2693 | 1 | [1 = user, 2 = factory] | Uint
Reserved
Parameter 22 Calibration
Sample 0 | 2 | Float32 | FC3 | 2704 | 2 |  | Float
Sample 1 | 2 | Float33 | FC3 | 2706 | 2 |  | Float
Lab 0 | 2 | Float34 | FC3 | 2708 | 2 |  | Float
Lab 1 | 2 | Float35 | FC3 | 2710 | 2 |  | Float
current_coeff[0] | 2 | Float36 | FC3 | 2712 | 2 |  | Float
current_coeff[1] | 2 | Float37 | FC3 | 2714 | 2 |  | Float
user_coeff[0] | 2 | Float38 | FC3 | 2716 | 2 |  | Float
user_coeff[1] | 2 | Float39 | FC3 | 2718 | 2 |  | Float
factory_coeff[0] | 2 | Float40 | FC3 | 2720 | 2 |  | Float
factory_coeff[1] | 2 | Float41 | FC3 | 2722 | 2 |  | Float
supported_types | 1 | Unsigned Int16 | FC3 | 2724 | 1 | [1 = offset, 2 = slope] | Uint
selected_mode | 1 | Unsigned Int16 | FC3 | 2725 | 1 | [1 = user, 2 = factory] | Uint
Reserved